## GMV-ND12ZD-A-T(U)
Product Model:GMV-ND12ZD/A-T(U)
NO. | Part Description | qty | Part Code
1 | Sensor Sub-assy | 1 | 39008000101G
2 | Connection Board | 1 | 02229406
3 | Right Cover Plate | 1 | 26909444
4 | Plate Board of Water Releasing Flume | 1 | 26909442
5 | Installation Supporting Frame | 1 | 01809402
6 | Axile Bush | 2 | 10542704
7 | Right Side Plate Sub-Assy | 1 | 01319429
8 | Water Releasing Flume | 1 | 02284106P
9 | Connection Board | 1 | 01344115
10 | Electronic Expansion Valve Sub-Assy | 1 | 43044100110
11 | Strainer | 2 | 0741410000601
12 | Guide Louver | 2 | 10619403
13 | Front Connection Board | 1 | 01349414P
14 | Air Louver | 16 | 10619404
15 | Rotating Shaft | 4 | 26909430
16 | Guide Louver Supporter Sub-assy | 1 | 0180941601
17 | Fixed Mount | 1 | 26909426R
18 | Display Board | 1 | 30294000009
19 | Rear Side Plate Assy | 1 | 01319400008
20 | Evaporator Assy | 1 | 01024100096
21 | Rotating Shaft | 1 | 26909413
22 | Connecting Rod | 1 | 26909411
23 | Rotating Shaft | 1 | 26909412
24 | Stepping Motor | 1 | 1521240206
25 | Installation Supporting Frame | 1 | 01809401
26 | Left Side Plate Sub-Assy | 1 | 01319428
27 | Electric Box Assy | 1 | 01394100587
28 | Main Board | 1 | 30226000029
29 | Electric Box Cover | 1 | 01429420
30 | Left Cover Plate | 1 | 2690944302
31 | Terminal Board | 1 | 42011106
32 | Terminal Board | 1 | 4201800002601
33 | Mid-clapboard sub-assy | 1 | 01249416
34 | Support Of Motor Bearing | 2 | 01792408
35 | O-Gasket of Bearing | 1 | 76512404
36 | Rotary Axis Sub-Assy | 2 | 73018000037
37 | Centrifugal Fan | 4 | 10425200
38 | Joint Slack | 2 | 73018731
39 | Supporter | 1 | 01809400002
40 | Fan Motor | 1 | 15704100001
41 | Supporter | 1 | 01809400023
| Supporter | 1 | 01809400001
42 | Rear Connection board | 1 | 01349422
43 | Front Volute Casing | 4 | 26905205
44 | Rear Volute Casing | 4 | 26905206
45 | Remote Controller | 1 | 30510589
46 | Electric expand valve fitting | 1 | 4304413203
47 | Water Tray Assy | 1 | 01289404
48 | Top Cover Board Sub-assy | 1 | 01269409
49 | Front Grill sub-assy | 2 | 01579403
50 | Drainage Pipe Sub-assy | 1 | 05235434