## GMV-144WM-B-F(U)
Product Model:GMV-144WM/B1-F(U)
NO. | Part Description | qty | Part Code
1 | Rear Grill | 2 | 01574100002
2 | Top Cover | 1 | 01264100074
3 | Diversion Circle | 2 | 10474100002
4 | Motor for Axial Fan Assy | 2 | 15404100056
5 | Axial Flow Fan | 1 | 10434100002
6 | Fan Motor | 1 | 15704119
7 | Gas By-pass sub- assy | 1 | 030082000006
8 | Magnet Coil | 0 | none
9 | Strainer | 6 | 07415200002
10 | Electromagnetic Valve | 1 | 43000054
11 | Upper Cover Plate (back) | 1 | 01264100005P
12 | Rear Grill | 1 | 01574100001
13 | Condenser Assy | 1 | 0112410009001
14 | Low Pressure Survey Valve Sub-Assy | 1 | 030090000011
15 | Cut off Valve | 1 | 07130239
16 | Throttle Assy | 1 | 030190060011
17 | Electronic Expansion Valve Fittingss | 1 | 030026060171
18 | Electric Expand Valve Fitting | 1 | 4304413204
19 | Electronic Expansion Valve | 1 | 43044100190
20 | Discharge Charge Valve | 2 | 07334100002
21 | Electric expand valve fitting | 1 | 4304413203
22 | One way Valve | 2 | 04324001
23 | Electronic Expansion Valve | 1 | 43044100172
24 | Bidirection Strainer | 1 | 07210044
25 | Plate-type Heat Exchanger Sub-Assy | 1 | 030166060042
26 | Dry Filter Sub-Assy | 0 | none
27 | Gas Tube Filter | 2 | 072190511
28 | Dry Filter | 0 | none
29 | Left Side Plate | 1 | 01314712P
30 | Gas-liquid Separator | 1 | 07424138
31 | Oil Separator | 1 | 0742418601
32 | Electrical Heater(Compressor) | 1 | 7651873209
33 | Chassis Sub-assy | 1 | 01194100095P
34 | Base Frame Assy | 1 | 01284100122
35 | Cut off Valve | 1 | 07334100013
36 | Liquid Valve Sub-Assy | 1 | 07304100009
37 | Cut off Valve | 1 | 07334100011
38 | Valve | 1 | 07304100007
39 | Cut off Valve | 1 | 07334100014
40 | Gas Valve Sub-Assy | 1 | 07304100008
41 | Oil Equalizing Pipe Sub-Assy 1 | 1 | 030181060012
42 | Magnet Coil (electromagnetic valve) | 1 | 4304000455
43 | Magnet Coil | 1 | 4304000453
44 | Oil balancing pipe sub-assy 2 | 1 | 030181000008
45 | Compressor and Fittings | 0 | none
46 | Electric Heater(Compressor) | 1 | 7651540714
47 | Compressor and Fittings | 2 | 00204100011
48 | Electric Heater(Compressor) | 1 | 7651540713
49 | Front Panel (left) | 1 | 01544100003P
50 | Front Panel (right) | 1 | 01544100005P
51 | Handle | 2 | 26904100016
52 | Top Cover (front) | 2 | 01264100004P
53 | Sensor Sub-assy | 1 | 39008000028G
54 | Pressure Sensor | 1 | 32218000009
55 | Pressure Sensor | 1 | 32218000008
56 | Suction Pipe Sub-Assy | 1 | 030010060286
57 | Oil Separator | 2 | 07424100023
58 | Pressure Protect Switch | 1 | 4602000911
59 | Pressure Protect Switch | 1 | 4602000912
60 | Exhaust Trunk Sub-assy | 1 | 04534100012
61 | One Way Valve | 2 | 07333700032
62 | Gas By-pass Sub- Assy | 1 | 030082060016
63 | Magnet Coil | 1 | 4304000456
64 | 4-Way Valve Assy | 1 | 04044100060
65 | Filter | 1 | 07218603
66 | Magnet Coil | 1 | 4304000454
67 | 4-way Valve | 1 | 43000339
68 | One way Valve | 1 | 07335210
69 | Nozzle for Adding Freon | 2 | 06120012
70 | Right Side Plate | 1 | 01314713P
71 | Electric Box Assy | 1 | 100002061899
72 | Reactor | 1 | 43138000049
73 | Filter Board | 1 | 30228000032
74 | Rectifier | 1 | 46010614
75 | Main Board | 1 | 30223000006
76 | Radiator | 2 | 49010252
77 | Electric Box Assy | 1 | 100002062260
78 | Filter Board | 1 | 30228000032
79 | Rectifier | 2 | 46010604
80 | Main Board | 2 | 30228000031
81 | Radiator | 2 | 4901800000201
82 | Reactor | 1 | 43138000049
83 | Main Board | 2 | 30223000047
84 | Radiator | 2 | 49018000001
85 | Terminal Board | 1 | 42018000558
86 | Main Board | 1 | 30223000005
87 | AC Contactor | 2 | 44010265
88 | Terminal Board | 1 | 422000060004