## GMV-72WM-B-F(U)
Product Model:GMV-72WM/B-F(U)
NO. | Part Description | qty | Part Code
1 | Rear Grill | 1 | 01574105
2 | Coping | 1 | 01264100030P
3 | Diversion Circle | 1 | 10474100
4 | Motor for Axial Fan Assy | 1 | 15404100057
5 | Axial Flow Fan Sub-Assy | 1 | 10338702
6 | Fan Motor | 1 | 15704119
7 | Motor Support Sub-Assy | 2 | 01804771P
8 | Gas By-pass sub- assy | 1 | 04224100129
9 | Magnet Coil (electromagnetic valve) | 1 | 4304410018902
10 | Strainer | 1 | 07415200002
11 | Electromagnetic Valve | 1 | 43044100144
| Electromagnetic Valve | 1 | 43000054
12 | Top Cover | 2 | 01264231P
13 | Rear Grill | 1 | 01576013
14 | Condenser Assy | 1 | 0112431001
15 | Low Pressure Survey Valve Sub-assy | 1 | 07334100026
16 | Cut off Valve | 1 | 07130239
17 | Throttle Assy | 1 | 05374100006
18 | Dry Filter Sub-Assy | 1 | 07314100001
19 | Gas Tube Filter | 1 | 072190511
20 | Dry Filter | 1 | 07218769
21 | Cut off Valve | 1 | 07334100011
22 | Electric Expand Valve Fitting | 1 | 4304413206
23 | Electronic Expansion Valve | 1 | 07334412
| Electronic Expansion Valve | 1 | 07334390
24 | Discharge Charge Valve | 1 | 07334100002
25 | Electric Expand Valve Fitting | 1 | 4304413204
26 | Plate-type Heat Exchanger Sub-Assy | 1 | 00904100009
27 | Electronic Expansion Valve | 1 | 07334412
28 | One way Valve | 1 | 04324001
29 | Bidirection Strainer | 1 | 07210044
30 | Electric Expansion Valve Sub-Assy | 1 | 07334100030
31 | Left Side Plate | 1 | 01314712P
32 | Chassis Sub-assy | 1 | 01194100065P
33 | Gas-liquid Separator | 1 | 07424188
34 | Base Frame Assy | 1 | 01284711
35 | Oil Separator | 1 | 0742418601
36 | Electrical Heater(Compressor) | 1 | 7651873209
37 | Compressor and Fittings | 1 | 00204100011
38 | Electric Heater(Compressor) | 1 | 7651540713
39 | Magnet Coil (electromagnetic valve) | 1 | 4304410018901
40 | Magnet Coil (electromagnetic valve) | 1 | 4304410018904
41 | Oil Equalizing Pipe Sub-Assy | 1 | 04224100148
42 | Oil Separator | 1 | 07424100023
43 | Pressure Protect Switch | 1 | 4602000911
44 | Discharge Tube Sub-assy | 1 | 04534100113
45 | Front Panel | 1 | 01544627P
46 | Handle | 2 | 26904100016
47 | Front Panel | 1 | 01544620P
48 | Sensor Sub-assy | 1 | 39008000006G
49 | Pressure Sensor | 1 | 32218000009
50 | Pressure Sensor | 1 | 32218000008
51 | Right Side Plate | 1 | 01314713P
52 | Cut off Valve | 1 | 07334100012
53 | 4-Way Valve Sub-Assy | 1 | 04044100063
54 | Filter | 1 | 07218603
55 | Magnet Coil (electromagnetic valve) | 1 | 43044100189
56 | 4-way Valve | 1 | 43000339
57 | One way Valve | 1 | 07335210
58 | Nozzle for Adding Freon | 2 | 06120012
59 | Filter Board | 1 | 30228000032
60 | Rectifier | 1 | 46018000014
61 | Reactor | 1 | 43138000049
62 | Main Board | 1 | 30228000031
63 | Electric Box Assy | 1 | 01394100431
64 | Radiator | 1 | 4901800000201
65 | Main Board | 1 | 30223000047
66 | Radiator | 1 | 49018000001
67 | Terminal Board | 1 | 42018000558
68 | Main Board | 1 | 30223000005
69 | AC Contactor | 2 | 44010265
70 | Terminal Board | 1 | 42018000026