## GMV-Q96WM-B-F(U)
Product Model:GMV-Q96WM/B-F(U)
NO. | Part Description | qty | Part Code
1 | Rear Grill | 2 | 01574100002
2 | Top Cover | 1 | 01264100074
3 | Diversion Circle | 2 | 10474100002
4 | Axial Flow Fan | 1 | 10434100002
5 | Fan Motor | 1 | 15704119
6 | Electromagnetic Valve | 6 | 43000054
7 | Strainer | 4 | 07415200002
8 | Nozzle for Adding Freon | 2 | 06120012
9 | One way Valve | 2 | 07335210
10 | Nozzle for Adding Freon | 1 | 061200101
11 | Upper Cover Plate (back) | 1 | 01264100005P
12 | Rear Grill | 1 | 01574100001
13 | Condenser Assy | 1 | 0112410009001
14 | Discharge Charge Valve | 2 | 07334100002
15 | Bidirection Strainer | 1 | 07210044
16 | Electronic Expansion Valve | 1 | 07334390
17 | One way Valve | 1 | 04324001
18 | Electromagnetic Valve | 1 | 43000072
19 | Electronic Expansion Valve | 1 | 07334447
20 | Gas Tube Filter | 1 | 072190511
21 | Dry Filter | 1 | 07218769
22 | Plate-type Heat Exchanger | 1 | 00904100005
23 | Right Side Plate | 1 | 01314713P
24 | Chassis Assy | 1 | 01194100097
25 | Accumulator | 1 | 07424100036
26 | Electromagnetic Valve | 1 | 43000055
27 | Oil Separator | 1 | 0742418601
28 | Cut off Valve | 1 | 07334100011
29 | Cut off Valve | 1 | 07334100054
30 | Cut off Valve | 1 | 07334100014
31 | Electromagnetic Valve | 1 | 43044100144
32 | One Way Valve | 2 | 07130101
33 | Gas-liquid Separator | 1 | 07424138
34 | Compressor and Fittings | 1 | 00204100011
35 | Pressure Protect Switch | 1 | 4602000910
36 | Cut off Valve 1/4 | 1 | 071302398
37 | Top Cover (front) | 2 | 01264100004P
38 | Handle | 2 | 26904100016
39 | Front Panel (left) | 1 | 01544100003P
40 | Front Panel (right) | 1 | 01544100005P
41 | Sensor Sub-assy | 1 | 39008000117G
42 | Magnet Coil (electromagnetic valve) | 1 | 4304000464
43 | Magnet Coil (electromagnetic valve) | 1 | 4304000457
44 | Magnet Coil (electromagnetic valve) | 1 | 4304000455
45 | Magnet Coil (electromagnetic valve) | 1 | 4304000458
| Magnet Coil (electromagnetic valve) | 1 | 4304000463
46 | Magnet Coil (electromagnetic valve) | 1 | 4304000458
47 | Magnet Coil (electromagnetic valve) | 1 | 4304000461
48 | Magnet Coil (electromagnetic valve) | 1 | 4304000459
49 | Magnet Coil (electromagnetic valve) | 1 | 4304000460
50 | Magnet Coil | 0 | none
51 | Magnet Coil | 0 | none
52 | Electric expand valve fitting | 1 | 4304413203
53 | Electric Expand Valve Fitting | 1 | 4304413204
54 | Pressure Sensor | 1 | 32218000009
55 | Pressure Sensor | 1 | 32218000008
56 | Electric Heater(Compressor) | 1 | 7651540713
57 | Left Side Plate | 1 | 01314712P
58 | Filter | 1 | 07218603
59 | 4-Way Valve Assy | 1 | 030152000020
60 | Electric Box Assy | 1 | 01394100567
61 | Filter Board | 1 | 30228000032
62 | Rectifier | 1 | 46018000014
63 | Main Board | 1 | 30228000031
64 | Radiator | 1 | 4901800000201
65 | Main Board | 2 | 30223000047
66 | Radiator | 2 | 49018000001
67 | Reactor | 1 | 43138000049
68 | Terminal Board | 1 | 42018000558
69 | Main Board | 1 | 30224100006
70 | AC Contactor | 2 | 44010265
71 | Terminal Board | 1 | 42018000026